DX REQUIREMENT SHEET

General Information

| Application Name | X-ray app auto measurement |
| --- | --- |
| No | DX/PED/FY26/*** |
| Date | 29 06 2026 |

# Document Sections:

1. Application Development Baseline

2. Project Schedule

3. Application Information

4. Application Feature

5. Business Process

6. UI/UX

7. Release Judgment Condition

| DX | Approved | Approved | Approved | Checked | Prepared |
| --- | --- | --- | --- | --- | --- |
| *** | *** | *** | *** | *** | *** |

PT. Denso Indonesia, 3rd Factory

Jl. Selayar III Blok K-2, Industrial Estate MM 2100

West Cikarang, Bekasi 17845, Jawa Barat, Indonesia

# 1. Application Development Baseline

## 1.1 Background

Measuring IC position in X ray process is currently still using manual method. The method is applying film jig which has been determined on a scale on monitor. The weakness of this method have possible miss judgement from MP and possible flow out due to there is no POKAYOKE system.

## 1.2 Target Objectives

The software can measure & judgement OK or NG IC position in X ray process by converting image (pixel) to value measuring. And has system POKAYOKE and interface alarm if there any NG during processing.

## 1.3 Purpose

1. Measure position of IC in the hosing part

2. Able judgement OK and NG

3. Software judgement able connect to PLC for develop system interlock in the future.

4. Alarm treatment indication same as machine standard DENSO (indication alarm name, reset, and auto)

## 1.4 Benefit System

Quality		: The part 100% check by system and has the data measure for each part. Has system POKAYOKE if there any NG for prevent flow out. (rank C  B)

Productivity	: Reduce xxx MH

Safety		: Reduce potential excessive radiation exposure from X ray machine

# 2. Project Schedule (Not Update)

The following phases are included in the project schedule:

- Study

- Business Requirement Development

- Business Requirement Approval

- Development

- Install and Testing

- Improvement

- User Acceptance Test

- Go Live

- Monitoring

(Insert project timeline / Gantt chart here)

Figure 1 Example Schedule from Prosysta
PROSYSTA

# 3. Application Information

## 3.1 Application Overview

Application Name		: X-ray app auto measurement

Type				: Desktop

Main Functionality		: Measuring image from x ray

Author			: Giandi, Nugroho

Version			: Version development of this system

# 4. Application Feature

## 4.1 Feature Table

| No | Feature | Detail Feature | Remarks |
| --- | --- | --- | --- |
| 1 | Calibration (menu) | Compare pixel measurement with master jig dimension | Interval check calibration 1/day |
| 2 | Qty Counter (display) | Show qty product (reset every day) |  |
| 3 | CT actual vs target (display) | Show actual CT AI vs CT target (x-ray) |  |
| 4 | History output (menu) | History data csv (1 file 1 day) - Measurement results each part - Date - Operator name - Time - Sequence - Part number - Image compress, able to remeasure | - Before software running, MP log in name and P/N, if dandory only scan kanban - Number image and csv same for identification |
| 5 | Option save data: all, NG only, OK only (menu) | For support in learning AI, and traceability | Menu setting |
| 6 | Menu learning ai image sample (menu) | Menu for learning AI from history | Menu learning AI, AI will be learning by PE (QR access) |
| 7 | Transfer history data to server (other PC), for analyze | For easy output data from PC AI (secure) for analysis. |  |
| 8 | Menu log in before running. (menu) | MP must be log in before app running, the item is MP name & NPK | - Log in by QR - Auto log out 07.00 & 20.30 |
| 9 | Alarm/ abnormality handling (display) | Indicator alarm must be show : - Measurement amount - Image - Reset by leader (QR) - Menu double check. | Leader must be reset by QR for continuing running, optional leader can double with remeasure or manual measure) |
| 10 | Position adjustment | Ai can position adjustment if position part does not center at jig |  |
| 11 | Receive format image png. And jpg. | The software can choose image form auto capture with format jpg. or png. For measure |  |
| 12 | Manual Measure | Has option manual measure for double check | Manual Measurement is performed by defining two connected points that form a line. This line represents a measurement in millimetres (mm), which has been converted from pixels and calibrated to ensure accuracy |
| 13 | Role | Admin : Full access User : TL : - Log in - Normal Operation - Re-check - Manual measuring Operator : - Log in - Normal operation |  |
| 14 | Dandori | Process Dandori only scan by QR | QR already attach in kanban production |

Total Feature Development: 14

# 5. Business Process

## 5.1 General Flow Process

AI check flow process

## 5.2 Detail Process

## Log in

## Calibration

Save data

History output

# Learning AI

# Abnormality handling (alarm)

# Manual measurement

# 6. UI/UX ( Not Update)

## 6.1 UI/UX Screens List

The following table lists the key screens in the application:

Example:

Log in page						Main dashboard

Calibration						Manual measurement

Setting							learning AI

NG message

| Screen Name | Purpose | Key Elements | User Role |
| --- | --- | --- | --- |
| Login Page | User authentication |  | All Users |
| Dashboard | Overview of system data |  | All Users |
| Calibration | For calibration software |  | All user |
| Manual measurement | For re-measuring by line |  | TL, admin |
| Setting | Setting save image, load program, I/O, others |  | Admin |
| Learning AI | For AI training from history data |  | Admin |
| NG message | For show kind of NG (measuring & others) |  | TL, admin |

## 6.2 Wireframes or Mockups

Below are sample wireframes or mockups representing the layout and design of key screens.

(Insert wireframe / mockup images here)

# 7. Release Judgment Condition

## 7.1 Overview

This section outlines the conditions that must be met before the application can be launched (go live).

Apps can go live when the terms & conditions below are achieved:

- Test Application: The application has undergone thorough testing, including functionality, security, and device compatibility testing.

- Stability: All bugs have been resolved and the system operates without critical issues.

- Performance Optimization: The application has functioned optimally.

- All specifications in this document are completed.

- All source code is open source.

- UAT (User Acceptance Test) has been completed and approved.